## Introduction and tips
Introduction
On 13 May 2014 specific changes to the Water Supply (Safety and Reliability) Act 2008 were enacted. These changes aim to simplify regulatory requirements. Relevant service providers are required to: collect data on a pre-determined list of key performance indicators; and submit a performance report about each of the indicators each financial year. Each relevant service provider will have received a ‘Report requirement notice’ detailing the key performance indicators which are to be reported on. This template is designed to assist service providers in completing their performance report as contained in section 142A(3)(a) of the Water Supply (Safety and Reliability) Act 2008. This template can be used in the place of reporting via the SWIM database available from the Queensland Water Directorate. A copy of the performance report must be supplied to the regulator each year on or before 1 October occurring immediately after the financial year ends. It must be supplied using one of the following methods: Hard copy to: Water Supply Regulation, Divisional Support, Department of Regional Development, Manufacturing and Water, PO Box 15216 City East, Brisbane, QLD, 4002. Electronically to: drinkingwater.reporting@rdmw.qld.gov.au
Tips for completing the template
Inserting a new scheme The annual performance reporting template has capacity for three (3) schemes providing: a potable water service (columns H-J); a non-potable water service (columns K-M); or sewerage services (columns N-P). If you have more than 3 schemes under any of these headings or would like to add a recycled water scheme, additional columns can be inserted. Simply select the entire middle column under the required service, right click the mouse, and select insert. A new column containing relevant data validation and information will be inserted.
Grey coloured cells do not require a response To assist service providers cells which do not require a response to be entered are shaded grey. Please do not enter a response into these cells. For example, for service provider wide indicators all cells excluding the ‘Whole of provider’ column (column G) are shaded grey.
Locating the indicator definition The definition for each indicator has been included in the annual performance reporting template. Simply click on the ‘+’ icon on the left-hand side of the relevant indicator. This will expand the indicator definition. To hide the detail simply click on the ‘-‘ icon. For more detailed information on each indicator, including notes and examples, please refer to the ‘Key Performance Indicators for Queensland Urban Water Service Providers Definitions Guide’ located on the DEWS website https://www.resources.qld.gov.au/__data/assets/pdf_file/0008/1488599/kpi-definitions-guide-july-2020.pdf
Locating the SWIM indicator code The correlating Statewide Water Information Management (SWIM) code can be viewed by simply clicking on the ‘+’ icon above column F. This will expand the SWIM code information. To hide detail simply click on the ‘-‘ icon.
Using the ‘Service provider comments’ column Service providers may wish to include a comment on a response entered using the ‘Service provider comments’ column (column Q). This may include: a matter that impacted on, improved or deteriorated performance; an issue of future concern identified through reporting; or any strategies to deal with issues of concern. Alternatively, a service provider may include this information or other comments in the ‘Notes’ tab of the worksheet.
Entering data within the accepted responses Data validation has been included for each cell requiring a response. A list of accepted responses for each indicator is located on the outer right edge of the spreadsheets (columns S-Y, click on the ‘+’/’-‘ icon to expand/hide detail). A warning message will appear if a response is entered outside of these parameters.
The following reporting rules apply when the indicator is not relevant or there is no data for the indicator Use NR (Not Relevant) when the activity associated with the indicator has never been done or was not done during the reporting year. Use MD (Missing Data) when you do not know how much or cannot reasonable estimate the data associated with the indicator. This was previously recorded as No Data (ND). Use 0 (Zero) when the activity associated with the indicator is usually done but for the reporting year you did not do the activity e.g a recycling activity was suspended during the reporting year You must use MD for indicator where there is no data available; do not use '0'

## Performance reporting template
Department of Regional Development, Manufacturing and Water - Relevant Water Service Provider Annual Performance Reporting Template
| Indicator code | Indicator name | NPR code | SWIM code | Reporting/units | Whole of provider | Water services | [5 empty] | Sewerage services |  |  | Service provider comments | Accepted responses
[7 empty] | Potable water service |  |  | Non-potable water service | [6 empty] | Lower range |  | Upper range |  | Text responses
[7 empty] | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | <insert scheme name> | insert comments on indicators/responses if desired
| QG 1.1 | Lengths of water mains | - | AS2 | km: one decimal place |  | 0 |  |  | 87.6 | [5 empty] | Excludes mains associated with facilities and disused pipes. | > | 0.1 | <= | 10000 | NO DATA
The total length of water mains including delivering potable and non-potable water for urban areas. INCLUDES: P transfer, distribution and reticulation mains P recycled water distribution and reticulation mains EXCLUDES: × mains associated with property water service (mains to meter) connections × mains delivering recycled water for non-urban uses, e.g. agriculture reuse × disused pipe lengths should not be counted, even if they are maintained by the water utility for possible future use × privately owned mains × mains associated with source works, e.g. borefield mains × mains and channels associated with sources that transfer raw water × recycled water mains not supplying water direct to customers × mains associated with facilities, e.g. mains within pump stations, storage facilities or treatment plants
| QG 1.2 | Length of sewerage mains | - | AS5 | km: one decimal place | [7 empty] | NR |  |  | Service not provided. | > | 0.1 | <= | 10000 | NO DATA
The total length of mains, including all trunk, pressure and reticulation mains. INCLUDES: P combined sewerage and stormwater mains EXCLUDES: x lengths associated with property connection sewers or conduits carrying treated effluent x conduits and pipelines (e.g. feeding paddocks for grass and land filtration)
| QG 1.3 | Number of sewage treatment plants | - | AS4 | sewage treatment plants: as a whole number | [7 empty] | NR |  |  | Service not provided. | >= | 0 | <= | 15 | NO DATA
The total number of sewage treatment plants providing sewerage services to customers. INCLUDES: P all primary, secondary and tertairy level treatment plants
| QG 1.4a | Number of water treatment plants | - | AS1 | water treatment plants: as a whole number |  | 1 | [9 empty] | >= | 0 | <= | 20 | NO DATA
Number of water treatment plants providing full water treatment EXCLUDES: × disinfection only schemes × secondary disinfection even when there is pH correction × cooling down bore water through heat exchange process
| QG 1.4b | Capacity of water treatment plants | - | AS47 | megalitres per day: two decimal places |  | 28.85 | [8 empty] | Assuming 95% plant availability. | > | 0.1 | <= | 1000 | NO DATA
Daily reliable production capacity of water treatment plants providing full water treatment and producing potable water. Excludes × disinfection only schemes × secondary disinfection even when there is pH correction
| QG 1.5 | Maximum daily demand | - | WA201 | megalitres per day as a whole number |  | 32 |  |  | 37 | [6 empty] | > | 0.1 | <= | 1000 | NO DATA
The greatest daily demand for potable and non-potable water recorded in the reporting year.
| QG 1.6a | Volume of potable water produced at a water treatment plant | - | WA225 | megalitres: as a whole number |  | 7222 | [9 empty] | > | 0.1 | <= | 200000 | NO DATA
|  | The volume of potable water produced at a water treatment plant in the scheme. INCLUDES: üwater that is subsequently exported üwater produced to potable standards but used for non-potable applications üimported non-potable water that is treated at a water treatment plant within the scheme to potable standards EXCLUDES: × recycled water × potable water (treated or untreated that meet the drinking standard requirements) that has not passed the scheme water treatment plant(s) (e.g. some bore water or imported potable water) | [14 empty] | >
| QG 1.7 | Total potable water storage | - | AS48 | megalitres: three decimal place |  | 5.983 | [8 empty] | Combined effective storage of 2 potable water reservoirs which were commissioned in November 2020. | >= | 0 | <= | 2500 | NO DATA
|  | Total available storage capacity for potable water (assuming no further production). | [14 empty] | >
| QG 1.8 | Volume of water sourced from surface water | - | WA1 | megalitres: as a whole number |  | 7693 |  |  | 9949 | [6 empty] | >= | 0 | <= | 230000 | NO DATA
|  | The volume of raw water taken by the service provider from surface water sources. INCLUDES: P dams, weirs and barrages P rivers, creeks and streams P irrigation channels ü overland flow ü pumping pools ü river wells The reporting volume includes: ü water for which the service provider holds an entitlement or contract (including sale, lease or temporary trade arrangements) or for which the raw water source is not regulated ü water taken by others operating on behalf of the service provider ü water that is subsequently exported to other water schemes EXCLUDES: × water that is imported from other water schemes, including recycled water that is regulated for indirect potable reuse × seawater or brackish water used as feed water to marine desalination | [14 empty] | > |  | <=
| QG 1.9a | Volume of water sourced from groundwater | - | WA2 | megalitres: as a whole number |  | NR |  |  | NR | [5 empty] | MIWB supply sourced from surface water only. | >= | 0 | <= | 230000 | NO DATA
|  | The volume of raw water taken from groundwater sources by the service provider. Groundwater sources includes: ü aquifers, at all depths ü water sources from groundwater that is subsequently treated by desalination The reported volume includes: ü water for which the service provider holds an entitlement or contract (including sale, lease or temporary trade arrangements, dewatering licence or permit) or for which the raw water source is not regulated ü water taken by others operating on behalf of the service provider ü water that is subsequently exported EXCLUDES: P water that is imported from other schemes, including recycled water that is regulated for indirect potable reuse | [14 empty] | >
| QG 1.10 | Volume of water produced by desalination of marine water | - | WA61 | megalitres: as a whole number |  | NR |  |  | NR | [5 empty] | MIWB supply sourced from surface water only. | >= | 0 | <= | 230000 | NO DATA
|  | The volume of water produced by the desalination of marine water by the service provider. INCLUDES: P desalinated marine water sources ü desalinated marine water that is subsequently exported ü desalinated marine water taken by others operating on behalf of the service provider EXCLUDES: × water sourced from groundwater × water sourced from surface water × water that is imported | [14 empty] | >
| QG 1.11 | Volume of recycled water produced | - | WA26 | megalitres: as a whole number |  | 452 |  |  | NR | [5 empty] | Potable water treatment waste stream was supplied to MIM for use in processing plants. MIWB does not provide recycled water in its potable water service. | >= | 0 | <= | 100000 | NO DATA
|  | The volume of recycled water produced in the scheme. The reported volume includes all recycled water produced including: ü produced to either potable or non-potable standard for on-site reuse, agriculture, irrigation industry, or any other use external to the treatment process ü produced from treated sewage effluent associated with local sewage treatment schemes ü produced from treated effluent imported from sewage treatment schemes outside the local area ü water that is subsequently exported EXCLUDES: × imported treated recycled water x urban stormwater or recycled water produced from urban stormwater | [14 empty] | > |  | <=
| QG 1.12 | Volume of water sourced | - | WA7 | megalitres: as a whole number |  | 7693 |  |  | 9949 | [5 empty] | The recycled water is accounted for as water extracted from surface water and effectively treated as recovered water loss. | > | 0 | <= | 230000 | NO DATA
|  | The volume of water taken by the service provider from all sources. The reported volume includes: P volume of water sourced from surface water (QG 1.8) P volume of water sourced from groundwater (QG 1.9a) ü volume of imported water (QG 1.21) P volume of water produced by marine desalination (QG 1.10) P for recycled water schemes only – volume of recycled water (QG 1.11) P water that is subsequently exported Excludes: × for schemes that are not recycled water schemes – do not include recycled water | [14 empty] | > |  | <=
| QG 1.13 | Connected residential properties - water supply | - | CS2 | connected residential properties - water supply: thousands to 3 decimal places |  | NR |  |  | 0.004 | [6 empty] | >= | 0 | <= | 200 | NO DATA
|  | Number of residential water properties that are: • connected to the service provider's water system • the subject of billing for water supply collection - fixed and/or consumption based • any property which, at the end of the reporting period, is connected to the water system and is separately billed for the water services - fixed and/or consumption based INCLUDES: P a connected, rateable residential property P a connected, non-rateable residential property P a connected but non-metered residential property EXCLUDES: x a rated but unconnected property (e.g. vacant lot) x body corporate x a non-real property or strata garages (e.g a master meter for a block of separtely metered strata title flats) | [14 empty] | > |  | <=
| QG 1.14 | Connected non-residential properties - water supply | - | CS3 | connected non-residential properties - water supply: thousands to 3 decimal places |  | 0.001 |  |  | 0.007 | [5 empty] | Collective count for each of the 2 major customers, 5 minor customers, and R48 (each customer & R48 may have several off-take points). | >= | 0 | <= | 100 | NO DATA
|  | Number of non-residential properties that are: • connected to the service provider's water system • the subject of billing for water supply collection - fixed and/or consumption based • any property which, at the end of the reporting period, is connected to the water system and is separately billed for the water services - fixed and/or consumption based INCLUDES: P a connected, rateable non-residential property P a connected, non-rateable non-residential property P a connected but non-metered non-residential property P standpipes P public facilities EXCLUDES: x a rated but unconnected non-residential property (e.g. vacant lot) x body corporate a non-real property or strata garages (e.g a master meter for a block of separately metered strata title flats) | [14 empty] | >
| QG 1.15 | Connected residential properties - sewerage | - | CS6 | connected residential properties - sewerage: thousands to 3 decimal places | [7 empty] | NR |  |  | Service not provided. | >= | 0 | <= | 200 | NO DATA
|  | Number of residential water properties that are: • connected to the service provider's sewerage system • the subject of billing for water supply collection - fixed and/or usage based • any property which, at the end of the reporting period, is connected to the sewerage system and is separately billed for the sewerage services - fixed and/or usage based INCLUDES: P a connected, rateable residential property P a connected, non-rateable residential property P a connected but non-metered residential property EXCLUDES: x a rated but unconnected property (e.g vacant lot) x body corporate x a non-real property or strata garages (e.g a master meter for a block of separtely metered strata title flats) | [14 empty] | >
| QG 1.16 | Connected non-residential properties - sewerage | - | CS7 | connected non-residential properties - sewerage: thousands to 3 decimal places | [7 empty] | NR |  |  | Service not provided. | >= | 0 | <= | 100 | NO DATA
|  | Number of non-residential properties that are: • connected to the service provider's sewerage system • the subject of billing for water supply collection - fixed and/or usage based • any property which, at the end of the reporting period, is connected to the sewerage system and is separately billed for the sewerage services - fixed and/or usage based INCLUDES: P a connected, rateable non-residential property P a connected, non-rateable non-residential property P a connected but non-metered non-residential property P public facilities EXCLUDES: x a body corporate x a rated but unconnected non-residential property (e.g vacant lot) x a non-real property or strata garages (e.g a master meter for a block of separately metered strata title flats) | [14 empty] | >
| QG 1.17a | Volume of potable water supplied - residential | - | WA32 | megalitres: as a whole number |  | NR | [8 empty] | No residential service connection. | >= | 0 | <= | 200000 | NO DATA
The volume of potable water supplied to residential properties by the service provider. INCLUDES: P metered and non-metered potable water supplied to residential properties P potable water that has been imported from another scheme and subsequently supplied EXCLUDES: × real and apparent losses for the system × unbilled authorised consumption × recycled water
| QG 1.17b | Volume of non-potable water supplied - residential | - | WA91 | megalitres: as a whole number |  |  |  |  | 33 | [6 empty] | >= | 0 | <= | 200000 | NO DATA
The volume of non-potable water supplied to residential properties by the service provider. INCLUDES: ü metered and non-metered non-potable water (including raw water) supplied to residential properties ü water that has been imported from another scheme and subsequently supplied EXCLUDES: × real and apparent losses for the system × unbilled authorised consumption × recycled water
| QG 1.18a | Volume of potable water supplied – non-residential | - | WA34 | megalitres: as a whole number |  | 7194 | [9 empty] | >= | 0 | <= | 200000 | NO DATA
The potable volume of water supplied to non-residential properties by the service provider. INCLUDES: P metered and non-metered potable water supplied to non-residential (e.g. commercial, municipal, agricultural and industrial) connections P potable water that has been imported from another scheme and subsequently supplied EXCLUDES: × unbilled authorised consumption × real and apparent losses for the system × recycled water
| QG 1.18b | Volume of non-potable water supplied - commerical, municipal and industrial | - | WA92 | megalitres: as a whole number |  |  |  |  | 9175 | [6 empty] | >= | 0 | <= | 200000 | NO DATA
The non-potable volume of water supplied to non-residential properties by the service provider. INCLUDES: P metered and non-metered non-potable water (including raw water) water supplied to non-residential (e.g. commercial, municipal, agricultural and industrial) connections P water that has been imported from another scheme and subsequently supplied EXCLUDES: × real and apparent losses for the system × unbilled authorised consumption × recycled water
| QG 1.20 | Total Full-Time Equivalent water and sewerage services employees | - | WF1 | full-time equivalent: one decimal place | 25.5 | [10 empty] | > | 0 |  | 100 | NO DATA
|  | The total number of personnel involved in delivering water and sewerage services at the end of the reporting period including administrative and maintenance services, whether direct employees or indirect employees eg. contractor staff. INCLUDES: P operational employees P administrative employees P maintenance employees P laboratory employees P contractors employed in these areas EXCLUDES: × contractors employed in constructing or upgrading a plant or network as a one off | [14 empty] | >
| QG1.21 | Volume of water imported from other schemes | - | WA223 | megalitres: as a whole number | NR | NR |  |  | NR |  |  | NR |  |  | Service of imported volume not provided.
The volume of water imported from another scheme/s (that may be operated by the same or different service provider). The reported volume includes: ü Raw or treated water that has been imported ü Recycled water (including recycled water produced from urban stormwater) that has been imported into recycled water schemes ü Recycled water that has been regulated for import as a direct potable reuse into a potable water supply scheme or non-potable water supply scheme ü Water that is subsequently exported to another scheme ü Transfers not associated with a financial transaction ü Unmetered volumes
| QG1.22 | Volume of water exported to other schemes | - | WA224 | megalitres: as a whole number | NR | 7194 |  |  | 9459 |  |  | NR
The volume of water exported to another scheme/s (that may be operated by the same or different service provider). The reported volume includes: ü Raw or treated water that is subsequently exported to another scheme ü For recycled water schemes that is exported to another recycled water scheme ü Water that has been imported from another scheme and then is subsequently exported to another scheme ü Water exported that was not associated with a financial transaction ü Unmetered volumes
| QG1.23 | Volume of real and apparent water losses | - | AS56 | megalitres: as a whole number | 701 | 0 |  |  | 701 | [5 empty] | Water extracted for potable use is delivered to potable customer, process waste water being supplied as a recycled water to MIM.
The volume of real and apparent losses in the potable scheme. INCLUDES: ü Leakages, bursts and overflows from mains, service reservoirs and service connections prior to customer meters; ü Unauthorised potable water consumption (e.g. illegal theft, illegal water connections and illegal water use) ü Customer metering errors EXCLUDES: × Unbilled authorised water consumption (e.g. fire-fighting)
| QG 2.3 | Contingency supplies | - | WS3 | YES/NO Insert text response for both YES and No responses |  | NO |  |  | NO | [5 empty] | None idenditifed. | [5 empty] | YES | NO
Description of the available and/or planned contingency supplies. The description should include, but not be limited to: üthe nature of the contingency supply source/s üthe capacity of the contingency supply source/s üthe expected time taken to implement the contingency supply üany other information
| QG 2.10 a | Water restrictions - Permanent Water Conservation Measures (PWCM) | - | WS11 | Days: as a whole number |  | NR |  |  | NR | [5 empty] | Not applicable, MIWB is not responsible for water restrictions.
| QG 2.10 b | Water restrictions - Level 1 | - | WS12 |  |  | NR |  |  | NR | [5 empty] | Not applicable, MIWB is not responsible for water restrictions.
| QG 2.10 c | Water restrictions - Level 2 | - | WS13 |  |  | NR |  |  | NR | [5 empty] | Not applicable, MIWB is not responsible for water restrictions.
| QG 2.10 d | Water restrictions - Level 3 | - | WS14 |  |  | NR |  |  | NR | [5 empty] | Not applicable, MIWB is not responsible for water restrictions.
| QG 2.10 e | Water restrictions - Level 4 | - | WS15 |  |  | NR |  |  | NR | [5 empty] | Not applicable, MIWB is not responsible for water restrictions
| QG 2.10 f | Water restrictions - Level 5 | - | WS16 |  |  | NR |  |  | NR | [5 empty] | Not applicable, MIWB is not responsible for water restrictions.
The number of days in the year when water restrictions were applied for each level of restrictions, including permanent water conservation measures (PWCM) within each scheme.
| QG 2.11a | Water supply planning Has asset management planning been undertaken in the last 10 years? | - | WS17 | YES/NO If reported no, please add a text response |  | YES |  |  | YES
| QG 2.11b | Has drought management planning been undertaken in the last 10 years? | - | WS18 |  |  | NO |  |  | NO | [5 empty] | MIWB does not have the authority over water demands and supply source management. MIWB's principal customers are the water allocation holders. MIWB has its internal process to deal with drought conditions.
| QG 2.11c | Has water demand forecasts for the scheme been developed or reviewed in the last five (5) years? | - | WS19 |  |  | YES |  |  | YES
| QG 2.11d | Has an assessment of key capacity constraints of the water infrastructure (e.g. in the source, treatment and/or distribution) been undertaken in last 10 years? | - | WS20 |  |  | YES |  |  | YES
| QG 2.11e | Has the timing for potential future supply augmentation been assessed in the last 10 years? | - | WS21 |  |  | NR |  |  | NR | [5 empty] | No forecast augmentation required.
Provide an overview of the status of water supply planning for the scheme. Response to these indicators outlines the extent of water supply planning undertaken by the service provider for a scheme. It should be reported as yes/no for each sub-question. If reported ‘no’, a comment is required (and is mandatory) explaining why this is justified or when it is intended to complete the planning.
| QG 2.12 | Months of available supply as at 30 June | - | WS22 | choice from 6 timeframes: 1. 0-3 months of available supply 2. 4-6 months of available supply 3. 7-12 months of available supply 4. 13-18 months of available supply 5. 19-59 months of available supply 6. 60 months or greater of available supply Where available contingency supply is combined to estimate months of supply available, comments must be included to state that the estimate is based on available contingency supply. |  | 5 |  |  | 5 | [5 empty] | Asssumes historic drought dam flows to Moondarra and Julius and access to strategic reserve.
An estimation of the months of accessible supply based on the volume that is available to be supplied to the water supply scheme as at 30 June for the reporting period Response to this indicator should include consideration of: ü the volume of water that is available from all sources üavailable contingency supply üanticipated demands including planned demand management measures, such as water restrictions that are likely to be implemented ü historical behaviour of the supply üassumed inflow/streamflow/recharge based on Bureau of Meteorology (BOM) climate projections üany relevant operational constraints (limitations of any infrastructure that is needed to access, treat and deliver the water) üother water users of the resource
| QG 2.13 | Confidence that water demands will be met over the next 18 months | - | WS23 | Confidence level descriptor (Refer definition of this KPI in the definition guide for guidance) Where there is uncertainty or a low or very low level of confidence, comments must be provided summarising actions being/to be taken. |  | HIGH |  |  | HIGH | [5 empty] | Good understanding of supply, forecast available months of supply is conservative.
A service provider’s level of confidence that the water demand for the scheme can be reliably met over the next 18 months. Response to this indicator should include consideration of: üassumed inflow/streamflow/recharge based on Bureau of Meteorology (BOM) climate projections üanticipated demand, including planned demand management measures such as water restrictions üavailable contingency response measures
| QG 2.14 | Confidence that water demands will be met over the next 5 years | - | WS24 | Confidence level descriptor (Refer definition of this KPI in the definition guide for guidance) Where there is uncertainty or a low or very low level of confidence in being able to meet the demands over the next 5 years, comments must be provide to detail actions being taken or planned to be taken. |  | HIGH |  |  | HIGH | [5 empty] | Good understanding of supply, forecast available months of supply is conservative.
The service provider’s level of confidence that the water demand for the scheme can be reliably met over the next 5 years. Response to this indicator should include consideration of: üassumed inflow/streamflow/recharge based on history and with regard to the Bureau of Meteorology (BOM) climate projections üprojected population estimated by the Queensland Government Statistician’s Office (QGSO) ü anticipated demand, including planned demand management measures such as water restrictions ü planned contingency response likely to be accessible when needed ü any relevant future water infrastructure planned to be constructed.
| QG 3.1 | Total water supply capital expenditure | - | FN14 | thousands of dollars ($'000s): to nearest $'000 | 4308 | [9 empty] | Does not include R48. | >= | 0 | <= | 100000 | NO DATA
|  | The actual capital expenditure on water supply for the reporting year. INCLUDES: P new works P renewals or replacements ü work in progress expenditure that is expected to be capitalised P other expenditure that would otherwise be referred to as capital ü recycling water assets (see definition of recycled water) P plant and equipment | [14 empty] | >
| QG 3.2 | Total sewerage capital expenditure | - | FN15 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | >= | 0 | <= | 100000 | NO DATA
|  | The actual capital expenditure on sewerage services for the reporting year. INCLUDES: P new works P renewals or replacements ü work in progress expenditure that is expected to be capitalised P other expenditure that would otherwise be referred to as capital P plant and equipment EXCLUDES: × recycling water assets (see definition of recycled water) | [14 empty] | > |  | <=
| QG 3.3 | Capital works grants - water | - | FN26 | thousands of dollars ($'000s): to nearest $'000 | 0 | [10 empty] | >= | 0 | <= | 10000 | NO DATA
|  | Total capital works grants funds received within the reported financial year from governments for water specific capital works. INCLUDES: grants for water recycling | [14 empty] | >
| QG 3.4 | Capital works grants - sewerage | - | FN27 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | >= | 0 | <= | 10000 | NO DATA
|  | Total capital works grants funds received within the reported financial year from governments for sewerage specific capital works. EXCLUDES: grants for water recycling (included in QG 3.3) | [14 empty] | >
| QG 3.5 | Nominal written-down replacement cost of fixed water supply assets | - | FN9 | thousands of dollars ($'000s): to nearest $'000 | 141286 | [9 empty] | Does not include R48, office or plant property equipment. | > | 0 | <= | 2000000 | NO DATA
|  | The current cost of replacing fixed water supply assets with modern equivalent assets that would deliver the same service potential (capacity), written down by the accumulated depreciation since the asset was installed plus any residual value. INCLUDES: fixed recycled water assets | [14 empty] | > |  | <=
| QG 3.6 | Nominal written-down replacement costs of fixed sewerage assets | - | FN10 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | > | 0 | <= | 2000000 | NO DATA
|  | The current cost of replacing of fixed sewerage assets with the modern equivalent assets that would deliver the same service potential (capacity), written down by the accumulated depreciation since the asset was installed plus any residual value. EXCLUDES: fixed recycled water assets | [14 empty] | > |  | <=
| QG 3.7 | Current replacement costs of fixed water supply assets | - | FN74 | thousands of dollars ($'000s): to nearest $'000 | 323728 | [9 empty] | Does not include R48, office or plant property equipment. | > | 0 | <= | 2000000 | NO DATA
|  | The lowest it would cost to replace the existing water assets with new (i.e not second hand), modern equivalent assets. INCLUDES: ü work in progress expenditure that is expected to be capitalised ü replacement of water recycling assets | [14 empty] | > |  | <=
| QG 3.8 | Current replacement costs of fixed sewerage assets | - | FN75 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | > | 0 | <= | 2000000 | NO DATA
|  | The lowest it would cost to replace the existing sewerage assets with new (i.e. not second hand), modern equivalent assets. INCLUDES: ü work in progress expenditure that is expected to be capitalised EXCLUDES: × replacement of water recycling assets | [14 empty] | >
| QG 3.9 | Total revenue – water | - | FN1 | thousands of dollars ($'000s): to nearest $'000 | 26427 | [9 empty] | Water charges | > | 0 | <= | 50000 | NO DATA
|  | Total revenue from water services. INCLUDES (but not limited to): P revenue from pay-for-use and base-rate charges for provision of water (including recycled water) to residential and non-residential customers P special levies P all contributed cash and assets (otherwise known as gifted assets, developer charges or headworks contributions) P receipts from governments for specific agreed services (e.g. community service obligations) P other revenue from operations which would otherwise be included P revenue from bulk water sales (for those businesses that supply bulk water) EXCLUDES: × funds received for specific capital works from governments or other parties × equity contributions from governments × investment activities × non-core service provider activities (e.g. consulting, agriculture, property leases) × income from net asset sales | [14 empty] | >
| QG 3.10 | Total revenue – sewerage | - | FN2 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | > | 0 | <= | 50000 | NO DATA
|  | Total revenue from sewerage services. INCLUDES (but not limited to): P revenue from pay-for-use and base-rate charges for provision of sewerage services to residential and non-residential customers P special levies P all contributed cash and assets (otherwise known as gifted assets, developer charges or headworks contributions) P receipts from governments for specific agreed services (e.g. community service obligations) P other revenue from operations which would otherwise be included EXCLUDES: × funds received for specific capital works from governments or other parties × equity contributions from governments × investment activities × non-core service provider activities (e.g. consulting, agriculture, property leases) × income from net asset sales | [14 empty] | >
| QG 3.11 | Operating cost per property - water | - | FN11 | cost per property - water supply: as a whole number | [10 empty] | $/ML bulk water | > | 0 | <= | 2000 | NO DATA
|  |  | - | FN11.1 | cost per megalitre (bulk providers only): as a whole number | 852 | [10 empty] | > | 0 | <= | 2000 | NO DATA
The operating costs (operation, maintenance, administration) of a service provider per connected property or per ML for bulk water provider. INCLUDES: P water resource access charge or resource rent tax P purchases of raw, treated or recycled water P salaries and wages including proportion of salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P overheads on salaries and wages including proportion of overheads on salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P materials, chemicals and energy used P contracts P accommodation P all other operating costs that would normally be reported P items expensed from work in progress (capitalised expense items) and pensioner remission expenses (CSOs). (CSOs are likely to have an equivalent inclusion in revenue) P competitive neutrality adjustments, which include but are not limited to land tax, debits tax, stamp duties and council rates P Indirect costs should be apportioned to water and sewerage services EXCLUDES: × depreciation × any write-downs of assets to recoverable amounts × write-offs, retired or scrapped assets × the written-down value of assets sold × interest
| QG 3.11a | Operating cost – water | - | FN32 | Thousands of dollars ($’000): to nearest $’000 | 13908 | [9 empty] | Bulk water services
The operating costs (operation, maintenance, administration) of a service provider. INCLUDES: ü water resource access charge or resource rent tax ü purchases of raw, treated or recycled water ü salaries and wages including proportion of salaries and wages for FTEs shared across local governments as detailed in QG 1.20. ü overheads on salaries and wages including proportion of overheads on salaries and wages for FTEs shared across local governments as detailed in QG 1.20 ü materials, chemicals and energy used ü contracts ü accommodation ü all other operating costs that would normally be reported ü items expensed from work in progress (capitalised expense items) and pensioner remission expenses (CSOs) (CSOs are likely to have an equivalent inclusion in revenue) ü competitive neutrality adjustments, which include but are not limited to land tax, debits tax, stamp duties and council rates ü indirect costs apportioned to water services EXCLUDES: × depreciation × any write-downs of assets to recoverable amounts × write-offs, retired or scrapped assets × the written-down value of assets sold × interest
| QG 3.12 | Operating cost per property - sewerage | - | FN12 | cost per property - sewerage: as a whole number | NR | [9 empty] | Service not provided. | > | 0 | <= | 1000 | NO DATA
The operating costs (operation, maintenance, administration) of a service provider per connected property. INCLUDES: P charges for bulk treatment/transfer of sewage P salaries and wages including proportion of salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P overheads on salaries and wages including proportion of overheads on salaries and wages for FTEs shared across local governments as detailed in QG 1.20 P materials, chemicals and energy used P contracts P accommodation P all other operating costs that would normally be reported P items expensed from work in progress (capitalised expense items) and pensioner remission expenses (CSOs). (CSOs are likely to have an equivalent inclusion in revenue) P competitive neutrality adjustments, which include but are not limited to land tax, debits tax, stamp duties and council rates P indirect costs should be apportioned to water and sewerage services EXCLUDES: × depreciation × any write-downs of assets to recoverable amounts × write-offs, retired or scrapped assets × the written-down value of assets sold × interest
| QG 3.12a | Operating cost – sewerage | - | FN33 | Thousands of dollars ($’000): to nearest $’000 | NR | [9 empty] | Service not provided.
The operating costs (operation, maintenance, administration) of a service provider. INCLUDES: ü charges for bulk treatment/transfer of sewage ü salaries and wages including proportion of salaries and wages for FTEs shared across local governments as detailed in QG 1.20 ü overheads on salaries and wages including proportion of overheads on salaries and wages for FTEs shared across local governments as detailed in QG 1.20 ü materials, chemicals and energy used ü contracts ü accommodation ü all other operating costs that would normally be reported ü items expensed from work in progress (capitalised expense items) and pensioner remission expenses (CSOs) (CSOs are likely to have an equivalent inclusion in revenue.) ü competitive neutrality adjustments, which include but are not limited to land tax, debits tax, stamp duties and council rates ü indirect costs apportioned to sewerage services EXCLUDES: × depreciation × any write-downs of assets to recoverable amounts × write-offs, retired or scrapped assets × the written-down value of assets sold × interest
| QG 3.13 | Annual maintenance costs - water | - | FN76 | thousands of dollars ($'000s): to nearest $'000 | 3301 | [10 empty] | >= | 0 | <= | 1000 | NO DATA
|  | As a component of QG 3.11, report on the maintenance costs only. INCLUDES: P all costs as specified in QG 3.11 relating to routine, operational and preventative maintenance | [14 empty] | >
| QG 3.14 | Annual maintenance costs - sewerage | - | FN77 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | >= | 0 | <= | 1000 | NO DATA
|  | As a component of QG 3.12, report on the maintenance costs only. INCLUDES: P all costs as specified in QG 3.12 relating to routine, operational and preventative maintenance | [14 empty] | >
| QG 3.15 | Current cost depreciation - water | - | FN78 | thousands of dollars ($'000s): to nearest $'000 | 5555 | [9 empty] | Infrastructure, excludes R48 and office buiding and equipment. | > | 0 |  | 5000 | NO DATA
|  | Expenses incurred relating to change in value of the fixed water supply assets, plant and equipment during the reporting period. Current cost depreciation relates to the current value (as opposed to original purchase price) of the fixed assets, plant and equipment during the reporting period. | [14 empty] | > |  | <=
| QG 3.16 | Current cost depreciation - sewerage | - | FN79 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | > | 0 |  | 5000 | NO DATA
|  | Expenses incurred relating to change in value of the fixed sewerage services assets, plant and equipment during the reporting period. Current cost depreciation relates to the current value (as opposed to original purchase price) of the fixed assets, plant and equipment during the reporting period. | [14 empty] | > |  | <=
| QG 3.17 | Previous 5 year average annual renewals expenditure - water | - | FN80 | thousands of dollars ($'000s): to nearest $'000 | 4420 | [10 empty] | > | 0 | <= | 50000 | NO DATA
|  | The average of the annual renewals expenditures for the last 5 years (i.e. the reporting year and the 4 years previous) in nominal year dollars for water services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset (as adapted from the AIFMG). | [14 empty] | >
| QG 3.18 | Previous 5 year average annual renewals expenditure - sewerage | - | FN81 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | > | 0 | <= | 50000 | NO DATA
|  | The average of the annual renewals expenditures for the last 5 years (i.e. the reporting year and the 4 years previous) in nominal year dollars for sewerage services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset (as adapted from the AIFMG). | [14 empty] | >
| QG 3.19 | Forecast 5 year average annual renewals expenditure – water | - | FN82 | thousands of dollars ($'000s): to nearest $'000 | 5544 | [9 empty] | Does not include R48. | > | 0 | <= | 50000 | NO DATA
|  | The average annual renewals expenditures planned for 5 years after the reporting year for water services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset. The expenditure is at current year dollars (as adapted from the AIFMG). | [14 empty] | >
| QG 3.20 | Forecast 5 year average annual renewals expenditure – sewerage | - | FN83 | thousands of dollars ($'000s): to nearest $'000 | NR | [9 empty] | Service not provided. | > | 0 | <= | 50000 | NO DATA
|  | The average annual renewals expenditures planned for 5 years after the reporting year for sewerage services. Renewals expenditure is defined as expenditure on asset replacement, refurbishment or rehabilitation works which returns the asset to its original size, capacity or condition. It does not increase the size or capacity of the asset. The expenditure is at current year dollars (as adapted from the AIFMG). | [14 empty] | > |  | <=
| QG 3.21 | Other costs – water | - | FN49 | Thousands of dollars ($’000): to nearest $’000 | 970 | [9 empty] | Depreciation (excluding the depreciation amount already reported in QG 3.15), interest expense and R48 expenses.
The other water supply expenses incurred by the service provider, which are not reported under another indicator. INCLUDES: ü all non-core water supply business operating costs ü any write-downs of water supply assets to recoverable amounts ü depreciation and amortisation of water supply assets ü interest expenses EXCLUDES: × all expenses incurred on provision of sewerage and stormwater services × all other water supply expenses reported elsewhere
| QG 3.22 | Other costs – sewerage | - | FN50 | Thousands of dollars ($’000): to nearest $’000 | NR | [9 empty] | Service not provided.
The other sewerage service expenses incurred by the service provider, which are not reported under another indicator. INCLUDES: üall non-core sewerage service business operating costs ü any write-downs of water supply assets to recoverable amounts ü depreciation and amortisation of water supply assets ü interest expenses EXCLUDES: × all expenses incurred on provision of water supply and stormwater services × all other water supply expenses reported elsewhere
| QG 4.1 | Fixed charge - water | - | PR3 | cost per residential property per year - water: as a whole number Insert text response on fixed charge basis |  | NR |  |  | 0 | [6 empty] | >= | 0 | <= | 3000 | NO DATA
|  | The fixed amount the business levies on a residential property per year for water services. This is the component of each residential property’s bill that does not vary with the amount of water used. The basis for the fixed charge is to be provided (e.g. percentage of property value, meter sizes). | [14 empty] | > |  | <=
| QG 4.2 | Fixed charge - sewerage | - | PR31 | cost per residential property per year - sewerage: as a whole number Insert text response on fixed charge basis | [7 empty] | NR |  |  | Service not provided. | > | 0 | <= | 3000 | NO DATA
|  | The fixed amount the business levies on a residential property per year for sewerage services. This is the component of each residential property’s bill that does not vary with the amount of sewage produced. The basis for the fixed charge is to be provided (e.g. percentage of property value, number of pedestals or meter sizes). | [14 empty] | > |  | <=
| QG 4.3 | Annual bill based on 200 kL/annum | - | PR47 | annual cost: as a whole number | 312 | [9 empty] | Bulk Water Only. Based on fixed and variable charges per ML of potable water, scaled to 200kL. | > | 0 | <= | 3000 | NO DATA
|  | Average annual residential bill based on 200kL of water per annum. | [14 empty] | >
| QG 4.4 | Typical residential bill | - | PR48 | annual cost: as a whole number | NR | [9 empty] | No residential supply. | > | 0 | <= | 1500 | NO DATA
|  | The dollar amount of the typical residential annual water and sewerage bill for the financial year. This information is premised on the average annual residential consumption for a full-paying customer. | [14 empty] | >
| QG 4.5 | Total water main breaks (per 100 km) | - | AS8 | water main breaks per 100km of water main: one decimal place |  | 0 |  |  | 6 | [6 empty] | > | 0 | <= | 50 | NO DATA
|  | The total number of main breaks, bursts and leaks in all diameter water distribution and reticulation mains for potable and non-potable services for the financial year, irrespective of whether the break, burst or leak resulted in an interruption INCLUDES: P breaks caused by third parties EXCLUDES: × those in the property service (i.e. mains to meter connection) | [14 empty] | > |  | <=
| QG 4.6 | Total sewerage main breaks and chokes (per 100 km) | - | AS39 | sewerage main breaks per 100km of sewerage main: one decimal place | [7 empty] | NR |  |  | Service not provided. | > | 0 | <= | 50 | NO DATA
|  | The total number of sewerage mains breaks and chokes, irrespective of whether the break or choke resulted in an interruption to the sewerage service, for the financial year. INCLUDES: P all gravity sewer mains P all pressure mains (including common effluent pipelines, rising mains, etc.) P all vacuum system mains of any diameter P breaks caused by third parties ü chokes in pumps EXCLUDES: x property connection sewers x pipelines carrying treated effluent x recycled water distribution and reticulation mains delivering water for urban areas; such mains are to be reported as water mains (QG 1.1) | [14 empty] | >
| QG 4.7 | Incidence of unplanned interruptions – water | - | CS17 | unplanned interruptions per 1000 properties - water: as a whole number |  | 0 |  |  | 3 | [5 empty] | Supply interruption to 3 minor customers. | >= | 0 | <= | 100 | NO DATA
|  | This is the number of unplanned interruptions (when the customer has total loss of water supply and has NOT received at least 24 hours notification or as otherwise prescribed by regulatory requirements) per 1000 properties. INCLUDES: P situations where the duration of a planned interruption exceeds that which was originally notified P all un-notified interruptions caused by third parties (include text response on proportion of third-party breaks if desired) EXCLUDES: × property service connection interruptions, unless the burst or leak requires the water main to be shut down for repair and therefore affects multiple customers × interruptions that cause some reduction to the level of service but where normal activities (shower, washing machine, toilet flushing etc.) are still possible × breaks in house connection branches × planned interruptions | [14 empty] | >
| QG 4.8a | Performance against customer service standard for response to water incidents | - | CS66 | percentage: one decimal place |  | 100 |  |  | 100 | [6 empty] | > | 0 | <= | 10080 | NO DATA
|  | This indicator reports a water service provider’s (WSP) performance against their customer service standard for responding to water incidents. This indicator measures the percentage of water incidents the WSP responds to within the agreed timeframe. | [14 empty] | > |  | <=
| QG 4.9a | Performance against customer service standard for response to sewerage incidents (including mains breaks and chokes) | - | CS65 | percentage: one decimal place | [7 empty] | NR |  |  | Service not provided. | > | 0 | <= | 10080 | NO DATA
|  | This indicator reports a water service provider’s (WSP) performance against their customer service standard for responding to sewerage incidents. This indicator measures the percentage of sewerage incidents the WSP responds to within the agreed timeframe. | [14 empty] | > |  | <=
| QG 4.10 | Water quality complaints (per 1000 properties) | - | CS9 | water quality complaints per 1000 properties: as a whole number |  | 0 |  |  | 1 | [5 empty] | 1 water quality related complaint from non-potable customer. | >= | 0 | <= | 300 | NO DATA
|  | The total number of complaints received by the service provider that relate to water quality from any type of water provided. A complaint can be a written or verbal expression of dissatisfaction about an action, proposed action or failure to act by the water utility, its employees or contractors. Includes complaints received either in person, by mail, fax, phone, email or text messaging. INCLUDES complaints regarding: P discolouration P taste P odour P stained washing P illness P cloudy water (e.g. caused by oxygenation) Excludes complaints regarding: × service interruption × adequacy of service × restrictions × billing and accounts × water pressure | [14 empty] | > |  | <=
| QG 4.11 | Total water and sewerage complaints (per 1000 properties) | - | CS13 | complaints per 1000 properties: as a whole number |  | 0 |  |  | 6 |  |  | NR |  |  | There was a complaint received from member of public who was directed to contact their service provider MICC. | >= | 0 | <= | 500 | NO DATA
The total number of complaints received by the water business that relate to water or sewerage services. A complaint can be a written or verbal expression of dissatisfaction about an action, proposed action or failure to act by the water utility, its employees or contractors. Includes complaints received by the water utility in person, by mail, fax, phone, email or text messaging. Includes complaints regarding: P bursts P leaks P service interruptions P adequacy of service P water pressure P water quality or reliability P sewerage service complaints P sewage odours P affordability P billings and accounts P behaviour of staff or agents Excludes complaints regarding: × government pricing policy × tariff structures
| QG 4.12 | Water service complaints (per 1000 properties) | - | CS10 | complaints per 1000 properties: as a whole number |  | 0 |  |  | 5 |  |  | NR
The total number of water service complaints received by the service provider during the financial year. A complaint can be a written or verbal expression of dissatisfaction about an action, proposed action or failure to act by the water utility, its employees or contractors. Includes complaints received either in person, by mail, fax, phone, email or text messaging. Includes complaints regarding: ü bursts ü leaks ü service interruptions ü adequacy of service ü water pressure ü water reliability Excludes complaints regarding: × Water quality × Billing and accounts × Government pricing policy × Tariff structures
| QG 4.13 | Sewerage service complaints (per 1000 properties) | - | CS11 | complaints per 1000 properties: as a whole number |  | NR |  |  | NR |  |  | NR |  |  | Service not provided.
The total number of complaints received by the service provider that relate to sewerage service quality and reliability during the financial year. A complaint can be a written or verbal expression of dissatisfaction about an action, proposed action or failure to act by the water utility, its employees or contractors. Includes complaints received either in person, by mail, fax, phone, email or text messaging. Includes complaints regarding: ü sewer chokes and overflows ü trade waste services ü sewerage odours üsewerage system reliability ü all other sewerage issues Excludes complaints regarding: × property connections × government pricing policy × tariff structures × other non-applicable areas of business
| QG 4.14 | Billing & account complaints: water & sewerage (per 1000 properties) | - | CS12 | Complaints per 1000 properties: as a whole number |  | 0 |  |  | 0 |  |  | NR
The total number of complaints received by the service provider that relate to billing and accounts during the financial year. A complaint can be a written or verbal expression of dissatisfaction about an action, proposed action or failure to act by the water utility, its employees or contractors. Includes complaints received either in person, by mail, fax, phone, email or text messaging. Includes complaints regarding: ü account payment ü financial loss or overcharging ü billing errors ü affordability Excludes complaints regarding: × Government pricing policy × Tariff structures × Correctly calculated bill that is too high
| QG 5.1 | Operating ratio | - | FN84 | as a percentage | 26%
Net operating result before tax divided by total operating revenue.
| QG 5.2 | Capital replenishment ratio | - | FN85 | as a number | 0.79
|  | Purchases of non-current assets divided by depreciation expense. | [16 empty] | <=
| QG 5.3 | Debt to revenue ratio | - | FN86 | as a percentage or number | 2.1%
Total loans and borrowings divided by total operating revenue.
| QG 6.1 | Governance structure implemented | - | IT1 | Yes / No | Yes
Does your organisation implement cyber security governance practices aligned with recognised standards that: - Clearly defines internal roles and responsibilities for cyber security? - Places cyber security responsibility with the appropriate component owner and cyber security risk accountability with the head of the executive team (CEO or equivalent level)? - Considers appropriate security controls and compensating controls where applicable?
| QG 6.2 | Vulnerability / risk assessment of water / sewerage assets implemented | - | IT2 | Yes / No | Yes
In the past 12 months, has your organisation undertaken an assessment of the vulnerability of water and sewerage services to cyber security risk which has also: - Identified critical assets? - Identified vulnerabilities in critical assets? - Evaluated the risk of vulnerabilities being exploited in terms of likelihood and impact?
| QG 6.3 | Cyber security safeguards implemented | - | IT3 | Yes / No | Yes
Do risks identified as part of your vulnerability / risk assessment process for water and sewerage control and associated systems: - Have clear actions identified to mitigate risks? - Have clearly defined responsibilities?
| QG 6.4 | Cyber security detection process implemented | - | IT4 | Yes / No | Yes
Does your organisation monitor its assets to detect cyber security incidents / occurrences in water and sewerage control and associated systems?
| QG 6.5 | Cyber security response and recovery plan implemented | - | IT5 | Yes / No | Yes
In the event of cyber security incident in water and sewerage control and associated systems does your organisation have a recovery plan with responses practiced at least annually?

## Notes
Notes
Service providers that wish to include information on: a matter that impacted on, improved or deteriorated performance; an issue of future concern identified through reporting; or any strategies to deal with issues of concern may do so here.